IB Chemistry Lab: Investigating Reaction Rate via Spectrophotometry

### Learning Objectives

- Use a colorimeter to measure concentration changes over time.

- Determine the average and instantaneous rate of a reaction using absorbance data.

- Explore reaction order through graphical analysis.

### Reaction Overview

Crystal violet (CV⁺), a purple dye, reacts with hydroxide ions to form a colorless product:

As the reaction proceeds, the purple color fades. Using a colorimeter set to ~590–600 nm, you can track the decrease in absorbance over time, which correlates with the concentration of CV⁺.

### Materials (per group)

- Crystal violet solution (1.0 × 10⁻⁵ mol dm-3)

- Sodium hydroxide solution (0.1 mol dm-3)

- Cuvettes

- Colorimeter or spectrophotometer (set to 590–600 nm)

- Stopwatch or timer

- Pipettes, beakers, distilled water

### Procedure

- Calibrate Colorimeter with distilled water in a clean cuvette.

- Prepare Reaction Mixture: Mix 10 cm3 CV⁺ solution with 10 cm3 NaOH in a beaker. Quickly transfer to cuvette.

- Record Absorbance: Immediately begin recording absorbance every 30 seconds for 5–10 minutes.

- Repeat: If time allows, vary NaOH concentration and repeat.

### Analysis

- Plot Absorbance vs. Time.

- Calculate average rate of the reaction, initial rate, rate at 2 minutes, and rate at 5 minutes. How do these values compare to each other?